## Sheet1
Group Table
Group ID | Group Name | Location | Room IDs
Group ID | NCAIR | Transit Bls | RID_1, RID_2, RID_3, RID_4, RID_5, RID_6, RID_7, RID_8, RID_9, RID_10, RID_11, RID_12, RID_13
Group ID | MMMF Lab | F2-Shed | RID_14, RID_15, RID_16, RID_17, RID_18, RID_18, RID_20
Group ID | Textile center | F2-Shed | RID_19, RID_20, RID_21, RID_22, RID_23, RID_24, RID_25, RID_26, RID_27, RID_28, RID_29
GID_4 | AMEC | MTL Lab | RID_30, RID_31
GID_5 | FDXM | SAIF Room No 3 | RID_32, RID_33
GID_6 | CAM Lab | Mech Bld G22 | RID_32, RID_34
GID_7 | AMTF | Mech Bld G23 | RID_32, RID_35
Data Table
Data type | Data Name | Data Units | Data range (Lower) | Data range (Upper) | Smart Posting Threshold (units/s) | Data Caution (Upper Limit) | Data Critical (Upper Limit)
T | Temperature | deg C | 18 | 45 | 1 | 35 | 40
H | Humidity | % | 20 | 90 | 2 | 65 | 80
DP | Dew point | deg C | 10 | 80 | 1 | NA | NA
L | Luminescence | Arbitrary units | 0 | 1024 | 100 | NA | NA
N | Noise | Arbitrary units | 10 | 70 | 2 | 40 | 50
V | Vibrations (sd) | m/s2 | 0 | 10 | 1 | 2 | 5
S | Smoke | Arbitrary units | 0 | 1024 | 20 | 200 | 300
D | Dust count | Arbitrary units | 0 | 1024 | 10 | 150 | 300
IoT Device Table
IoT Device IDs | Mac_ID | Room ID | Data Type | Data acquisition frequency (s) | Data posting frequency (s) | Smart posting
IOT_1 | 03:d6:71:fe:88:bf | RID_1 | H, T, DP | 2 | 300 | Yes
IOT_2 | 7d:66:ca:e6:ab:3f | RID_2 | H, T, DP | 2 | 300 | Yes
IOT_3 | 4f:5b:65:73:05:5e | RID_3 | H, T, DP | 2 | 300 | Yes
IOT_4 | e3:c0:43:ca:d4:33 | RID_4 | H, T, DP | 2 | 300 | Yes
IOT_5 | 8b:50:bb:40:1b:a4 | RID_5 | H, T, DP | 2 | 300 | Yes
IOT_6 | 4d:6f:1c:6a:f4:24 | RID_6 | H, T, DP | 2 | 300 | Yes
IOT_7 | a4:d4:5d:6b:e8:ec | RID_7 | H, T, DP | 2 | 300 | Yes
IOT_8 | 44:01:35:a9:bf:e7 | RID_8 | H, T, DP | 2 | 300 | Yes
IOT_9 | 36:18:b1:cf:5c:6a | RID_9 | H, T, DP | 2 | 300 | Yes
IOT_10 | 6d:2f:ad:95:d8:fb | RID_10 | H, T, DP | 2 | 300 | Yes
IOT_11 | 5e:96:33:08:fb:8c | RID_11 | H, T, DP | 2 | 300 | Yes
IOT_12 | d2:59:cb:b5:9f:4b | RID_12 | H, T, DP | 2 | 300 | Yes
IOT_13 | 2d:5a:e9:66:7a:ae | RID_13 | H, T, DP | 2 | 300 | Yes
IOT_14 | 07:d2:50:3f:45:11 | RID_14 | H, T, DP | 2 | 300 | Yes
IOT_15 | 3c:95:48:d1:02:3a | RID_15 | H, T, DP | 2 | 300 | Yes
IOT_16 | 81:80:b6:88:bd:0e | RID_16 | H, T, DP | 2 | 300 | Yes
IOT_17 | be:f0:f6:ca:80:d4 | RID_16 | H, T, DP | 2 | 300 | Yes
IOT_18 | 85:19:c7:50:2a:b2 | RID_17 | H, T, DP | 2 | 300 | Yes
IOT_19 | 79:73:70:25:ef:07 | RID_18 | H, T, DP | 2 | 300 | Yes
IOT_20 | 0d:45:f3:b8:c9:89 | RID_19 | H, T, DP | 2 | 300 | Yes
IOT_21 | 5e:ce:1e:d6:db:25 | RID_20 | H, T, DP | 2 | 300 | Yes
IOT_22 | b2:86:77:7e:a4:74 | RID_21 | H, T, DP | 2 | 300 | Yes
IOT_23 | eb:1c:95:a5:1c:c3 | RID_22 | H, T, DP | 2 | 300 | Yes
IOT_24 | 80:09:89:36:a0:24 | RID_23 | H, T, DP | 2 | 300 | Yes
IOT_25 | 1b:94:e0:3a:55:d1 | RID_24 | H, T, DP | 2 | 300 | Yes
IOT_26 | a2:13:5a:0f:77:fc | RID_25 | H, T, DP | 2 | 300 | Yes
IOT_27 | 7f:cb:21:74:48:e1 | RID_26 | H, T, DP | 2 | 300 | Yes
IOT_28 | c0:12:37:e2:35:82 | RID_27 | H, T, DP | 2 | 300 | Yes
IOT_29 | a1:c5:af:7b:29:65 | RID_28 | H, T, DP | 2 | 300 | Yes
IOT_30 | 06:b3:b2:cc:60:ec | RID_29 | H, T, DP | 2 | 300 | Yes
IOT_31 | 69:ba:cd:c8:12:1d | RID_30 | H, T, DP | 2 | 300 | Yes
IOT_32 | de:36:a4:f1:72:dc | RID_31 | H, T, DP | 2 | 300 | Yes
IOT_33 | 6b:9b:9f:18:0d:3d | RID_32 | H, T, DP | 2 | 300 | Yes
IOT_34 | 55:5c:1c:19:f1:90 | RID_33 | H, T, DP | 2 | 300 | Yes
IOT_35 | b1:46:ea:5a:4e:64 | RID_34 | H, T, DP | 2 | 300 | Yes
IOT_36 | c7:c7:c2:2f:b3:3d | RID_35 | H, T, DP | 2 | 300 | Yes
IOT_37 | 9f:0b:aa:cb:55:81 | RID_36 | H, T, DP | 2 | 300 | Yes
IOT_38 | a7:bf:99:92:87:20 | RID_37 | H, T, DP | 2 | 300 | Yes
IOT_39 | 4a:1f:cf:b5:01:d2 | RID_38 | H, T, DP | 2 | 300 | Yes
IOT_40 | fb:49:2a:17:17:a8 | RID_39 | H, T, DP | 2 | 300 | Yes
IOT_41 | 09:59:49:0c:32:26 | RID_40 | H, T, DP | 2 | 300 | Yes
IOT_42 | 52:da:93:5a:42:fe | RID_41 | H, T, DP | 2 | 300 | Yes
IOT_43 | 2d:98:93:e4:a1:e7 | RID_42 | H, T, DP | 2 | 300 | Yes
Room Table
Room ID | Room Name | Location | Group ID | IoT Device IDs
RID_1 | Reception | b1:46:ea:5a:4e:64 | IOT_35 | IOT_1
RID_2 | Conf Room | b1:46:ea:5a:4e:64 | IOT_35 | IOT_2
RID_3 | Visitor room | b1:46:ea:5a:4e:64 | IOT_35 | IOT_3
RID_4 | Sitting Area 1 | b1:46:ea:5a:4e:64 | IOT_35 | IOT_4
RID_5 | Sitting Area 2 | b1:46:ea:5a:4e:64 | IOT_35 | IOT_5
RID_6 | Sitting Area 3 | b1:46:ea:5a:4e:64 | IOT_35 | IOT_6
RID_7 | Lab/Pantery | b1:46:ea:5a:4e:64 | IOT_35 | IOT_7
RID_8 | Pawan | b1:46:ea:5a:4e:64 | IOT_35 | IOT_8
RID_9 | Sameer | b1:46:ea:5a:4e:64 | IOT_35 | IOT_9
RID_10 | Maruti | b1:46:ea:5a:4e:64 | IOT_35 | IOT_10
RID_11 | Manager 1 | b1:46:ea:5a:4e:64 | IOT_35 | IOT_11
RID_12 | Manager 2 | b1:46:ea:5a:4e:64 | IOT_35 | IOT_12
RID_13 | Confidential roon | NCAIR | GID_1 | IOT_13
RID_14 | Reception | c7:c7:c2:2f:b3:3d | IOT_36 | IOT_14
RID_15 | Sitting Area | c7:c7:c2:2f:b3:3d | IOT_36 | IOT_15
RID_16 | Lab Area | c7:c7:c2:2f:b3:3d | IOT_36 | IOT_16, IOT_17
RID_17 | SEM Room | c7:c7:c2:2f:b3:3d | IOT_36 | IOT_18
RID_18 | OM Room | c7:c7:c2:2f:b3:3d | IOT_36 | IOT_19
RID_19 | UPS Room | c7:c7:c2:2f:b3:3d | IOT_36 | IOT_20
RID_20 | Polishing Room | c7:c7:c2:2f:b3:3d | IOT_36 | IOT_21
RID_21 | Reception | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_22
RID_22 | Hybrid Machine | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_23
RID_23 | XRD | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_24
RID_24 | Filament Winding Machine | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_25
RID_25 | Office GF | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_26
RID_26 | Water Cooler Room | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_27
RID_27 | Closed Lab | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_28
RID_28 | Sitting Area FF | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_29
RID_29 | Office 1 FF | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_30
RID_30 | Office 2 FF | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_31
RID_31 | Pantery | 9f:0b:aa:cb:55:81 | IOT_37 | IOT_32
RID_32 | 5-axis CNC room | a7:bf:99:92:87:20 | IOT_38 | IOT_33
RID_33 | Storage Room | a7:bf:99:92:87:20 | IOT_38 | IOT_34
RID_34 | Tomography Room | 4a:1f:cf:b5:01:d2 | IOT_39 | IOT_35
RID_35 | Analysis Room | 4a:1f:cf:b5:01:d2 | IOT_39 | IOT_36
RID_36 | CNC room | fb:49:2a:17:17:a8 | IOT_40 | IOT_37
RID_37 | External Room | fb:49:2a:17:17:a8 | IOT_40 | IOT_38
RID_38 | Office | fb:49:2a:17:17:a8 | IOT_40 | IOT_39
RID_39 | UTM Room | 09:59:49:0c:32:26 | IOT_41 | IOT_40
RID_40 | PowerPack Room | 09:59:49:0c:32:26 | IOT_41 | IOT_41
RID_41 | Office 1 | 09:59:49:0c:32:26 | IOT_41 | IOT_42
RID_42 | Office 2 | 09:59:49:0c:32:26 | IOT_41 | IOT_43